February 2013

Fire and Emergency Evacuation

Building Warden		Square Edge Building Manager

Deputy				Community Arts Admin/Manager as available

Duties				Call Fire Service (111)

Collect evacuation folder

Collect key for front tenancy

Report to alarm panel (inside front tenancy)

Collect reports from floor wardens

Appoint person to assist with disabled 							persons

Advise Fire Service of evacuation 								status including location of disabled persons

Identification			Pink jerkin marked Warden

Hard hat marked Building Warden

Floor Wardens

Ground Floor			Community Arts (Building Manager)

Deputy				Community Arts (Arts Co-ordinator)

Area responsible for	Entire ground floor of the main building 							including toilets, basement, shops.

First Floor			Alliance Francaise

Deputy

Area responsible for	Entire first floor of the building including 							Evelyn Rawlins Room, offices, studios, toilets

Second Floor			Tall Poppies Drama School

Deputy

Area responsible for	Entire second floor of the building including 						offices, apartment, toilets, studios

Courtyard			ALPN Director

Deputy				ALPN Admin

Area responsible for	Entire courtyard area including dance studio, 						offices, art studios, toilets	.

Floor Warden Duties

You are responsible to oversee the evacuation of all people from 	your floor or designated area to the assembly point.

- Raise the alarm immediately by calling 111

- Wear Warden jerkin to be visible to the Fire Service

- Ensure all occupants leave building via the nearest safe exit

- DO NOT ENTER THE LIFT

- Ensure that the smoke stop doors are closed

- Check toilets and kitchens

- Watch for people who may require assistance or appoint a 	caregiver

- Note location of persons remaining inside the building

- Report your floor area status to Building Warden at alarm panel 	(located in front tenancy)

- Assemble outside front of main building.  Keep area immediately 	in front and rear of building clear of people

Updated February 2013

Fire and Emergency Evacuation  - All Tenants

If you discover a fire

- Sound the nearest alarm

- Call the Fire Service 111

- Clearly state the name and address of the building and provide 	any further information about the type of the fire and it location 	within the building

- Turn off any appliances providing it is safe to do so

- Leave the building immediately by the nearest exit

- Move quickly – Do Not Run

- DO NOT ENTER THE LIFT

- Follow the instructions of your floor warden

- Report to the Assembly Point outside at the front of the building or 	Jersey Lane

- Assist any person with disabilities

- Do not re-enter the building until the “all clear” is given by the Fire 	Service or the Building Warden

Fire fighting should only be attempted if it is safe to do so

Evacuation of persons with disabilities

- A Building Assistance register is kept up to date to ensure the 	safety of staff with disabilities who require assistance in an 	evacuation.

- If you are aware of a person joining staff who may require 	assistance in an evacuation, please inform the Building Warden.

- At the time of an evacuation, the Floor Warden may nominate 	additional people to assist persons with disabilities.

- All staff are responsible to ensure disabled visitors are assisted 	from the building to the Assembly point.

Updated February 2013